
VERNON TOWNSHIP WATER AUTHORITY
[image: image1.png]\/ERN

THE GOLDE‘N LINK




16678 McMath Ave.

Meadville, PA  16335
Phone: (814) 332-0803    Fax: (814) 337-5473
www.vernontwp-pa.gov/water-authority/

                2025 
ANNUAL DRINKING WATER QUALITY REPORT

                                            PWSID #:  6200072
Este informe contiene información importante acerca de su agua potable.  Haga que alguien lo traduzca para usted, ó hable con alguien que lo entienda.  (This report contains important information about your drinking water.  Have someone translate it for you or speak with someone who understands it.)
WATER SYSTEM INFORMATION

This report shows our water quality and what it means.  If you have any questions about this report or concerning your water utility, please contact Jim Falco at (814) 332-0803
.  We want you to be informed about your water supply.  If you want to learn more, please attend any of our regularly scheduled meetings.  They are held on the second Thursday of the month at 7:00 pm at 16678 McMath Ave, Meadville, PA  16335.
SOURCE OF WATER

Our water source is groundwater purchased from the Meadville Area Water Authority (MAWA).  MAWA has seven wells that are located in an unnamed glacial outwash, sand and gravel aquifer.  Each well is approximately 80 feet deep, and each well is capable of producing one million gallons of water per day.  VTWA is an active partner with MAWA in protecting our source water.  
A Source Water Assessment of our source was completed by the PA Department of Environmental Protection (Pa. DEP). The Assessment has found that our source is potentially most susceptible to non-point source pollution related to the nearby shooting range, former manufacturing, hydrocarbon storage sites (gasoline stations) and transportation.  Overall, our source has little risk of significant contamination.  Copies of the complete report are available for review at the Pa. DEP Northwest Regional Office, Records Management Unit at (814) 332-6899, or at MAWA, 18160 Rogers Ferry Road, Meadville, PA  16335.
Some people may be more vulnerable to contaminants in drinking water than the general population.  Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections.  These people should seek advice about drinking water from their health care providers.  EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline (800-426-4791).

Monitoring Your Water:

We routinely monitor for contaminants in your drinking water according to federal and state laws.  The following tables show the results of our monitoring for the period of January 1 to December 31, 2025.  The State allows us to monitor for some contaminants less than once per year because the concentrations of these contaminants do not change frequently.  Some of our data is from prior years in accordance with the Safe Drinking Water Act and includes the latest test results from the past five years for contaminants that are not tested annually.  The date has been noted on the sampling results table. Because we purchase water from the Meadville Area Water Authority (MAWA) their detected contaminants, if any are included in this report.
DEFINITIONS

Action Level (AL) - The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.

Maximum Contaminant Level (MCL) - The highest level of a contaminant that is allowed in drinking water.  MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

Maximum Contaminant Level Goal (MCLG) - The level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs allow for a margin of safety.

Maximum Residual Disinfectant Level (MRDL) - The highest level of a disinfectant allowed in drinking water.  There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

Maximum Residual Disinfectant Level Goal (MRDLG) - The level of a drinking water disinfectant below which there is no known or expected risk to health.  MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants.

Minimum Residual Disinfectant Level (MinRDL) - The minimum level of residual disinfectant required at the entry point to the distribution system.

Level 1 Assessment – A Level 1 assessment is a study of the water system to identify potential problems and determine (if possible) why total coliform bacteria have been found in our water system.

Level 2 Assessment – A Level 2 assessment is a very detailed study of the water system to identify potential problems and determine (if possible) why an E. coli MCL violation has occurred and/or why total coliform bacteria have been found in our water system on multiple occasions.

Treatment Technique (TT) - A required process intended to reduce the level of a contaminant in drinking water.

Mrem/year = millirems per year (a measure of radiation absorbed by the body)

pCi/L = picocuries per liter (a measure of radioactivity)
ppm = parts per million, or milligrams per liter (mg/L)
ppb = parts per billion, or micrograms per liter (μg/L)
ppq = parts per quadrillion, or picograms per liter

ppt = parts per trillion, or nanograms per liter

DETECTED SAMPLE RESULTS

	Contaminant
	MCL
	MCLG
	Highest Level Detected
	Range of Detections
	Units
	Sample Date
	Violation Y/N
	Sources of Contamination

	Distribution Chlorine

(Vernon)
	MRDL = 4
	MRDLG = 4
	0.80
March 2025
	0.40-0.80
	ppm
	2025
	N
	Water additive used to control microbes

	Barium

(MAWA)
	2
	2
	0.0862
	N/A
	ppm
	2/7/24
	N
	Discharge of drilling wastes; Discharge from metal refineries; Erosion of natural deposits

	Chromium

(MAWA)
	100
	100
	3.39
	N/A
	ppb
	2/7/24
	N
	Discharge from steel and pulp mills; Erosion of natural deposits

	Nickel

(MAWA)
	Not Regulated
	Not Regulated
	0.00247
	N/A
	ppm
	2/7/24
	N
	Leaching from metals in contact with drinking water, erosion in the production of steel alloys.

	Fluoride

(MAWA)
	2*
	2*
	0.71
	N/A
	ppm
	2/7/24
	N
	Erosion of natural deposits; Water additive which promotes strong teeth; Discharge from fertilizer and aluminum factories

	Perfluorooctanoic Acid (PFOA)
(MAWA)
	14
	N/A
	0
	N/A
	ppt
	2025
	N
	Discharge from manufacturing facilities and runoff from land use activities

	Contaminant
	MCL
	MCLG
	Highest Level Detected
	Range of Detections
	Units
	Sample Date
	Violation Y/N
	Sources of Contamination

	Combined Radium 

(MAWA)
	5
	0
	1.12
	N/A
	(pCi/l)
	8/12/20
	N
	Erosion of natural deposits

	HAA5

Haloacetic Acids
(Vernon)
	60
	NA
	1.66
	N/A
	ppb
	9/10/25
	N
	By-product of drinking water disinfection

	TTHM

Trihalomethanes
(Vernon)
	80
	NA
	31.30
	N/A
	ppb
	9/10/25
	N
	By-product of drinking water chlorination


*EPA’s MCL for fluoride is 4 ppm.  However, Pennsylvania has set a lower MCL to better protect human health.
	Entry Point Disinfectant Residual 

	Contaminant
	Minimum Disinfectant

Residual
	Lowest

Level Detected
	Range of Detections
	Units
	Lowest Sample Date
	Violation Y/N
	Sources of Contamination

	Chlorine

(MAWA)
	0.40
	0.4
	0.4-1.17
	ppm
	3/25/25
	N
	Water additive used to control microbes.


	Lead and Copper

	Contaminant
	Action Level 
(AL)
	MCLG
	90th Percentile Value
	Range of Tap Sampling Results
	Units
	# of Sites Above AL of Total Sites
	Violation Y/N
	Sources of
Contamination

	Lead

2025
(Vernon)
	15
	0
	1.81
	0.00-3.09
	ppb
	0 out of 10 sites
	N
	Corrosion of household plumbing systems; Erosion of natural deposits

	Copper

2025
(Vernon)
	1.3
	1.3
	0.638
	0.0725-0.650
	ppm
	0 out of 10 sites
	N
	Corrosion of household plumbing systems; Erosion of natural deposits; Leaching from wood preservatives


Lead:  Lead can cause serious health problems, especially for pregnant women and young children.  Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. Vernon Township Water Authority is responsible for providing high quality drinking water and removing lead pipes but cannot control the variety of materials used in plumbing components in your home.  You share the responsibility for protecting yourself and your family from the lead in your home plumbing.  You can take responsibility by identifying and removing lead materials within your home plumbing and taking steps to reduce your family’s risk.  Before drinking tap water, flush your pipes for several minutes by running your tap, taking a shower, doing laundry or a load of dishes.  You can also use a filter certified by an American National Standards Institute accredited certifier to reduce lead in drinking water.  If you are concerned about lead in your water and wish to have your water tested, contact Vernon Township Water Authority.  Information on lead in drinking water, testing methods, and steps you can take to minimize exposure are available at. www.epa.gov/safewater/lead.
Vernon Township Water Authority prepared a service line inventory that includes the type of material contained in each service line in our distribution system.  This inventory can be accessed by contacting our office at (814) 332-0803.
EDUCATIONAL INFORMATION:

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.  Contaminants that may be present in source water include:

· Microbial contaminants, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

· Inorganic contaminants, such as salts and metals, which can be naturally-occurring or result from urban stormwater run-off, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.

· Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban stormwater runoff, and residential uses.

· Organic chemical contaminants, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can also come from gas stations, urban stormwater runoff, and septic systems.

· Radioactive contaminants, which can be naturally-occurring or be the result of oil and gas production and mining activities.

In order to ensure that tap water is safe to drink, EPA and DEP prescribes regulations which limit the number of certain contaminants in water provided by public water systems.  FDA and DEP regulations establish limits for contaminants in bottled water which must provide the same protection for public health.

Drinking water, including bottled water, may reasonably be expected to contain at least some small amounts of contaminants.  The presence of contaminants does not necessarily indicate that water poses a health risk.  More information about contaminants and potential health effects can be obtained by calling the Environmental Protection Agency’s Safe Drinking Water Hotline (800-426-4791).

OTHER INFORMATION
Our goal is to continue improving our water facilities and to enhance customer service for you.  We welcome your comments and suggestions.  Please visit us on the Vernon Township’s website at www.vernontwp-pa.gov, e-mail us at vtwa@vernontwp-pa.gov , call us at (814) 332-0803, or stop in to our office located at the Vernon Township Municipal Building at 16678 McMath Ave, Meadville.
